## Laser_types
Mfg | Mod | Wavelength | Eyewear Requirement | Compatible Lens 1 | Compatible Lens 2 | Special Case | MinimumWL | MaximumWL | MinOD
A.R.C. | Fox 980 (12W) |  | 980 | Gi1 | Pi4 |  | 970 | 990
A.R.C. | Wolf 980 |  | 980 | Gi1 | Pi4 |  | 970 | 990
A.R.C. | Wolf 1470 |  | 1470 | Gi1 | Pi5 |  | 1460 | 1480
A.R.C. | Fox 810 (8W) |  | 810 | Pi1 | GiT5 |  | 800 | 820
A.R.C. | Wolf 455 TruBlue |  | 455 | Pi3 | Pi18 |  | 450 | 460
A.R.C. | Fox 514 (1.5W) |  | 514 | Pi3 | Pi18 |  | 510 | 520
Adler | neoV |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Adler | neoV |  | 1470 | Gi1 | Pi5 |  | 1460 | 1480
Adler | neoV |  | 808 | Pi1 | GiT5 |  | 790 | 810
Alcon | 2300 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Alcon | 2500 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Alcon | 2500LE |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Alcon | 3000LE |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Alcon | Eyelite (532 Diode) |  | 532 | GiT1 | Pi3 |  | 520 | 540
Alcon | PurePoint (532 Diode) |  | 532 | GiT1 | Pi3 |  | 520 | 540
Allmed/Lisa Laser | Revolix |  | 2013 | Gi1 | Pi23 |  | 2010 | 2020
Allmed/Lisa Laser | Revolix Jr. (15 Watt) |  | 2013 | Gi1 | Pi23 |  | 2010 | 2020
Allmed/Lisa Laser | Sphinx |  | 2013 | Gi1 | Pi23 |  | 2010 | 2020
Alma | Sinon | 694 | 694nm (L5/L7) |  |  |  | 690 | 700
Alma | Pixel CO2 | 10600 | 10600nm (OD 5) | Pi11 |  |  | 10599 | 10601 | 5
Alma | Excimer | 308 | 308nm (100% UV) | Pi11 | Pi14 |  | 200 | 400
Alma | Hybrid | 10600 | 1570nm (OD 3), 10600nm (OD 3) | Pi23 | Gi1 |  | 1560 | 1580
Alma | Hybrid | 1570 | 1570nm (OD 3), 10600nm (OD 3) | Pi23 | Gi1 |  | 1560 | 1580
Alma | Beautiful | 1470 | 1470nm (DL 3) | Pi23 | Gi1 |  | 1460 | 1480
Alma | Harmony | 532 | 532nm (OD 5), 1064nm (OD 7), 2940 (OD 6), 420-950nm (IPL) | Pi3 | GiT1 | Pi14 | 530 | 2950
Alma | Harmony | 1064 | 532nm (OD 5), 1064nm (OD 7), 2940 (OD 6), 420-950nm (IPL) | Pi3 | GiT1 | Pi14 | 530 | 2950
Alma | Harmony | 2940 | 532nm (OD 5), 1064nm (OD 7), 2940 (OD 6), 420-950nm (IPL) | Pi3 | GiT1 | Pi14 | 530 | 2950
Alma | Harmony | IPL | 532nm (OD 5), 1064nm (OD 7), 2940 (OD 6), 420-950nm (IPL) | Pi3 | GiT1 | Pi14 | 530 | 2950
Alma | PicoClear | 532 | 532nm, 1064nm (OD 6) | Pi3 | GiT1 |  | 530 | 1070
Alma | PicoClear | 1064 | 532nm, 1064nm (OD 6) | Pi3 | GiT1 |  | 530 | 1070
Alma | Platinum/Titanium | 755 | 750-760nm (OD 4), 810 (OD 4), 1064nm (OD 4) | Pi4 | GiT7 |  | 745 | 1070
Alma | Platinum/Titanium | 810 | 750-760nm (OD 4), 810 (OD 4), 1064nm (OD 4) | Pi4 | GiT7 |  | 745 | 1070
Alma | Platinum/Titanium | 1064 | 750-760nm (OD 4), 810 (OD 4), 1064nm (OD 4) | Pi4 | GiT7 |  | 745 | 1070
Alma | Soprano ICE | 755 | 750-890nm (OD 7), 600-1800 (IPL) | Pi4 | GiT5 | Pi14 | 745 | 895
Alma | Hybrid |  | 10600/1570 | Gi1 |  |  | 1550 | 1580
Alma | Soprano ICE Platinum |  | 755/810/1064 | GiT5 | Pi4 |  | 755 | 1070
Alma | Soprano Titanium |  | 755/810/1064 | GiT5 | Pi4 |  | 755 | 1070
Alma | FemiLift |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Alma | Pixel |  | 70 Watt | Pi11 | Gi1
Alma | Soprano ICE |  | 755/810 | Pi16 | GiT5 |  | 750 | 810
Alma | Accent Prime
Alma | Harmony
Alma | Harmony Lite
Alma | Harmony XL
Alma | Harmony XL PRO
Alma | Harmony XLi
AMD | Picasso+ |  | 800-820nm OD 5 | Pi1
AMD | Picasso+ Lite |  | 800-820nm OD 5 | Pi1
AMD | Clarion |  | 800-820nm OD 5 | Pi1
American Medical Systems | Aura XP |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
AMS/Laserscope | Aura XP |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
AngioDynamic Biolitec | Ceralas D15 |  | 980 | Gi1 | Pi23 |  | 970 | 990
AngioDynamic Biolitec | Ceralas E |  | 980 | Gi1 | Pi4 |  | 970 | 990
AngioDynamic Biolitec | Ceralas PDT |  | 630 | Pi7 |  |  | 620 | 640 | We can add OD 4 620-640nm into spec
AngioDynamics | Precision 980 |  | 980 | Gi1 | Pi4 |  | 970 | 990
AngioDynamics | Venacure 1470 |  | 1470 | Gi1 | Pi5 |  | 1460 | 1480
AngioDynamics | VenaCure EVLT 1470 Pro |  | 1470 | Gi1 | Pi5 |  | 1460 | 1480
AngioDynamics | Delta 15 |  | 810 | Pi1 | GiT5 |  | 800 | 820
AngioDynamics | Delta 30 |  | 810 | Pi1 | GiT5 |  | 800 | 820
AngioDynamics VenaCure | VenaCure 1470 Pro |  | 1470 | Gi1 | Pi5 |  | 1460 | 1480
Astanza | Duality
Biolase | Epic 10 (10W Dental laser) |  | 940 | Pi4 | GiT5 |  | 935 | 945
Biolase | ezLase 940 (7W Dental laser) |  | 940 | Pi4 | GiT5 |  | 935 | 945
Biolase | Waterlase iPlus |  | 2780nm | Gi1
Biolase | Waterlase Express |  | 2780nm | Gi1
Biolase | Epic X |  | 940nm +/- 10nm | Pi17
Biolase | Epic Pro |  | 940nm +/- 20nm, 980nm +/- 20nm | Pi17
Biolase | Epic Hygiene |  | 980nm +/- 10nm | Pi17
Biolitec | Leonardo Mini 1470 |  | 1470 | Gi1 | Pi5 |  | 1460 | 1480
Biolitec | Leonardo FPS |  | 1064 - 20Watt | Gi1 | Pi8 |  | 1060 | 1070
Biolitec | Leonardo Dual 100 |  | 980/1470 | Gi1 | GiT5 |  | 940 | 1470
Biolitec | LeonardoMini Dual |  | 980/1470 | Gi1 | GiT5 |  | 940 | 1470
Biolitec | Leonardo Dual 200 |  | 980/1471 | Gi1 | GiT5 |  | 940 | 1475
Biolitec | Leonardo Dual 45 |  | 980/1472 | Gi1 | GiT5 |  | 940 | 1475
Boston Scientific / Laserscope | Greenlight HPS |  | 532 | GiT1 | Pi3 |  | 520 | 540
Boston Scientific / Laserscope | Greenlight PV |  | 532 | GiT1 | Pi3 |  | 520 | 540
Brassler | BLU Dental Microlaser |  | 810nm | Pi1
BVI | E4 |  | 810 | Pi1 | GiT5 |  | 800 | 820
BVI/Endo Optiks | E2 |  | 810 | Pi1 | GiT5 |  | 800 | 820
Candela | GentleYAG family | 1064 | 1064nm (OD 6.3) | Gi1 | Pi8 |  | 1060 | 1070 | 6
Candela | Nordlys Ydun | IPL | 1064nm (OD 4), 1550nm (OD 2), 400-950nm (IPL) | Gi1 | Pi4 | Pi14 | 1060 | 1550 | 1
Candela | Nordlys Ydun | 1064 | 1064nm (OD 4), 1550nm (OD 2), 400-950nm (IPL) | Gi1 | Pi4 | Pi14 | 1060 | 1550 | 1
Candela | Nordlys Ydun | 1550 | 1064nm (OD 4), 1550nm (OD 2), 400-950nm (IPL) | Gi1 | Pi4 | Pi14 | 1060 | 1550 | 1
Candela | Vbeam Perfecta | 595 | 592-596nm (OD 5.2) | Gi2 | Pi7 |  | 590 | 600 | 5
Candela | Vbeam Prima | 595 | 592-596nm (OD 5), 1064nm (OD 5) | Gi2.Gi1 | Pi22 |  | 590 | 1070 | 5
Candela | Vbeam Prima | 1064 | 592-596nm (OD 5), 1064nm (OD 5) | Gi2.Gi1 | Pi22 |  | 590 | 1070 | 5
Candela | ALEX TriVantage | 532 | 532nm (OD 6), 745-765nm (OD 6.8), 1064nm (OD 5.7) | GiT1 | Pi18 |  | 530 | 1070 | 5.5
Candela | ALEX TriVantage | 755 | 532nm (OD 6), 745-765nm (OD 6.8), 1064nm (OD 5.7) | GiT1 | Pi18 |  | 530 | 1070 | 5.5
Candela | ALEX TriVantage | 1064 | 532nm (OD 6), 745-765nm (OD 6.8), 1064nm (OD 5.7) | GiT1 | Pi18 |  | 530 | 1070 | 5.5
Candela | PICOWAY | 532 | Picosecond - 532nm (OD 6.6), 730nm (OD 4), 785nm (OD 4), 1064nm (OD 6) | GiT1 | Pi18 |  | 530 | 1070 | 4
Candela | PICOWAY | 730 | Picosecond - 532nm (OD 6.6), 730nm (OD 4), 785nm (OD 4), 1064nm (OD 6) | GiT1 | Pi18 |  | 530 | 1070 | 4
Candela | PICOWAY | 785 | Picosecond - 532nm (OD 6.6), 730nm (OD 4), 785nm (OD 4), 1064nm (OD 6) | GiT1 | Pi18 |  | 530 | 1070 | 4
Candela | PICOWAY | 1064 | Picosecond - 532nm (OD 6.6), 730nm (OD 4), 785nm (OD 4), 1064nm (OD 6) | GiT1 | Pi18 |  | 530 | 1070 | 4
Candela | GMAX Pro | 755 | 755nm (OD 5.8), 1064nm (OD 6.3) | GiT5 | Pi4 | Pi14 | 750 | 1070 | 5.5
Candela | GMAX Pro | 1064 | 755nm (OD 5.8), 1064nm (OD 6.3) | GiT5 | Pi4 | Pi14 | 750 | 1070 | 5.5
Candela | ELOS PLUS | IPL | 800-825nm (OD 6), 910-920nm (OD 5), 400-2000nm (IPL) | GiT5 | Pi4 | Pi14 | 790 | 930 | 1
Candela | CO2RE | 10600 | 10600nm (OD 5) | Pi11 |  |  | 10599 | 10601 | 5
Candela | GentleLASE family | 755 | 745-765nm (OD 5.8) | Pi16 | GiT5 |  | 740 | 770 | 5.5
Candela | ELOS PLUS | 810 | 800-825nm (OD 6), 910-920nm (OD 5), 400-2000nm (IPL) | Pi4 | GiT5 | Pi14 | 790 | 930 | 1
Candela | ELOS PLUS | 920 | 800-825nm (OD 6), 910-920nm (OD 5), 400-2000nm (IPL) | Pi4 | GiT5 | Pi14 | 790 | 930 | 1
Candela | Gentle YAG |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Candela | Mini GentleYAG |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Candela | Smoothbeam |  | 1450 | Gi1 | Pi5 |  | 1440 | 1460
Candela | SmoothPeel |  | 2940 | Gi1 | Pi10 |  | 2930 | 2950
Candela | Ydun |  | 1550 Fractional | Gi1 | Pi5 |  | 1540 | 1560
Candela | Nordlys |  | 1550/1064/1940 | Gi1 | GiT5 |  | 1060 | 1950
Candela | Frax Pro |  | 1550/1940 | Gi1 | GiT5 |  | 1550 | 1940
Candela | Vbeam |  | 595 | Gi2 | Pi7 |  | 590 | 600
Candela | Vbeam Platinum |  | 595 | Gi2 | Pi7 |  | 590 | 600
Candela | CO2RE Intima |  | 10600 60Watt/GYN | Pi11 | Gi1 |  | 10599 | 10601
Candela | CO2RE |  | 60 Watt | Pi11 | Gi1
Candela | Alexlazr |  | 755 | Pi16 | GiT1 |  | 750 | 760
Candela | GentleLase |  | 755 | Pi16 | GiT1 |  | 750 | 760
Candela | Gentlelase Plus |  | 755 | Pi16 | GiT1 |  | 750 | 760
Candela | Mini Gentlelase |  | 755 | Pi16 | GiT1 |  | 750 | 760
Candela | PicoWay |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Candela | Gentle Pro |  | 755/1064 | Pi4 | GiT5 |  | 750 | 1070
Candela | GentleMax |  | 755/1064 | Pi4 | GiT5 |  | 750 | 1070
Candela | GentleMax Pro |  | 755/1064 | Pi4 | GiT5 |  | 750 | 1070
Candela | Sclero Plus |  | 585/590/595/600 | Pi7 | Pi22 |  | 585 | 600
Candela | Elos Plus
Candela | Sirius
Candela | SmartLipo Triplex
Candela | VelaShape III
CAO | Precise LTM |  | 810nm | Pi1
Cardio Genesis/Eclipse | Eclipse TMR 2000 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Clincians Choice | Clincians Choice |  | 808nm | Pi1
Coherent | 7910 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Coherent | 7970 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Coherent | 8900 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Coherent | 9900 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Coherent | Aura |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Coherent | VP 2.1 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Coherent | VP Select 30w |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Coherent | VP select 60 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Coherent | VP Select 60/60 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Coherent | VP Select 80 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Coherent | VP Select 80/100 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Coherent | VP VPC |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Coherent | Epic (SLT) |  | 532 | GiT1 | Pi3 |  | 520 | 540
Coherent | Novus Verdi |  | 532 | GiT1 | Pi3 |  | 520 | 540
Coherent | Selecta 7000 (original SLT) |  | 532 | GiT1 | Pi3 |  | 520 | 540
Coherent | VPC w/helpg |  | 2100/532 | GiT1 |  |  | 530 | 2100
Coherent | Opal |  | 690 | GiT7 |  |  | 680 | 700
Coherent | LightSheer EC |  | 810 | Pi1 | GiT5 |  | 800 | 820
Coherent | Lightsheer EP |  | 810 | Pi1 | GiT5 |  | 800 | 820
Coherent | LightSheer ET |  | 810 | Pi1 | GiT5 |  | 800 | 820
Coherent | Lightsheer SC |  | 810 | Pi1 | GiT5 |  | 800 | 820
Coherent | Lightsheer XC |  | 810 | Pi1 | GiT5 |  | 800 | 820
Coherent | UltraPulse 4000 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Coherent | Ultrapulse 5000 Venus |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Coherent | UltraPulse 5000C |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Coherent | UltraPulse 5000L |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Coherent | XAM 15/XAM 20 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Coherent | XL 2000 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Coherent | XL 40 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Coherent | XL 55 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Coherent | XL 60 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Coherent | LightSheer Duet |  | (2) 805nm handpiece sizes | Pi16 | Pi1 |  | 800 | 810
Coherent | Selecta Duet (coh. version) |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Coherent | 920 Argon |  | 488.5/514 | Pi3 | GiT1 |  | 485 | 515
Coherent | Novus 2000 |  | 488.5/514 | Pi3 | GiT1 |  | 485 | 515
Coherent | Novus 2000 DF |  | 488.5/514 | Pi3 | GiT1 |  | 485 | 515
Coherent | Novus L |  | 488.5/514 | Pi3 | GiT1 |  | 485 | 515
Coherent | Ultima 2000 |  | 488.5/514 | Pi3 | GiT1 |  | 485 | 515
Coherent | Ultima 2000 SE |  | 488.5/514 | Pi3 | GiT1 |  | 485 | 515
Coherent | 7901 / 7921 |  | 488.5/514/1064 combo | Pi3 | GiT1 |  | 485 | 1070
Coherent | 920 Dye |  | 577-630 | Pi7 |  |  | 575 | 635
Coherent | 920 A/K |  | 488.5/514/647 |  |  |  | 485 | 650
Coherent | Novus Omni
Coherent | Novus Omni Df
Coherent | Vasculight
Coherent | Vasculight Elite
Continuum Biomedical | Erbium |  | 2940 | Pi10 | Gi1 |  | 2930 | 2950
Continuum Biomedical | C6 |  | 1064/532 Q-switched | Pi3 | GiT1 |  | 530 | 1070
Convergent | T-1470 LiteTouch (25Watt) |  | 1470 | Gi1 | Pi5 |  | 1460 | 1480
Convergent | T-1470 ProTouch (100Watt) |  | 1470 | Gi1 | Pi5 |  | 1460 | 1480
Convergent | Thulium |  | 1940 | Gi1 | Pi23 |  | 1930 | 1950
Convergent | Odyssey 15 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Convergent | Odyssey 30 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Convergent | Solea Laser |  | 9,300nm | Pi19
Cook Medical | Cyber CM200 |  | 2000 | Gi1 | Pi23 |  | 1995 | 2005
Cook Medical | Rhapsody H30 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Cook Medical | Litho 100 (100Watt) |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Cook Medical | Litho 60 (60Watt) |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Cook Medical | Litho EVO |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Cook Medical | Litho (35Watt) |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Cooper Lasersonics, Inc. | 8000 / 8900 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Cooper Lasersonics, Inc. | Luxus 100YAG |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Cooper Lasersonics, Inc. | Luxus 60 YAG |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Cooper Lasersonics, Inc. | 870 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Cooper Lasersonics, Inc. | 2500 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Cooper Lasersonics, Inc. | Illumina 40 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Cooper Lasersonics, Inc. | Illumina 740 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Cooper Lasersonics, Inc. | Illumina 755 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Coopervision, Inc. | 2000 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Coopervision, Inc. | 2300 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
CryoLife/Cardio Genesis | SolarGen 2100s (CoolTouch Stonelight) |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Cutera | xeo Nd:YAG | 1064 | 1064nm (OD 6.1) | Gi1 | Pi8 |  | 1060 | 1070 | 6
Cutera | AviClear | 1726 | 1726nm (OD 3) | Gi1 | Pi23 |  | 1720 | 1730 | 3
Cutera | xeo Pearl YSGG | 2790 | 2790nm (OD 4) | Pi10 | Pi23 |  | 2780 | 2800 | 4
Cutera | xeo Pearl Fractional/YSGG | 2790 | 2790nm (OD 4) | Pi10 | Pi23 |  | 2780 | 2800 | 4
Cutera | Juliet Erbium | 2940 | 2940nm (OD 4) | Pi10 | Pi23 |  | 2930 | 2950 | 4
Cutera | Secret PRO CO2 | 10600 | 10600nm (OD 5) | Pi11 |  |  | 10599 | 10601 | 5
Cutera | excel V+ 532 | 532 | 532nm (OD 5.89), 1064nm (OD 5.81) | Pi3 | GiT1 |  | 530 | 1070 | 5.5
Cutera | excel V+ 532 | 1064 | 532nm (OD 5.89), 1064nm (OD 5.81) | Pi3 | GiT1 |  | 530 | 1070 | 5.5
Cutera | enlighten | 532 | 532nm (OD 7), 1064nm (OD 7) | Pi3 | GiT1 |  | 530 | 1070 | 7
Cutera | enlighten | 1064 | 532nm (OD 7), 1064nm (OD 7) | Pi3 | GiT1 |  | 530 | 1070 | 7
Cutera | enlighten SR | 532 | 532nm (OD 7), 1064nm (OD 7) | Pi3 | GiT1 |  | 530 | 1070 | 7
Cutera | enlighten SR | 1064 | 532nm (OD 7), 1064nm (OD 7) | Pi3 | GiT1 |  | 530 | 1070 | 7
Cutera | excel HR | 755 | 755nm (OD 6.1), 1064nm (OD 7) | Pi4 | GiT5 |  | 750 | 1070 | 6
Cutera | excel HR | 1064 | 755nm (OD 6.1), 1064nm (OD 7) | Pi4 | GiT5 |  | 750 | 1070 | 6
Cutera | enlighten III | 532 | 532nm (OD 7), 1064nm (OD 7), 670nm (OD 8) |  |  |  | 530 | 1070 | 7
Cutera | enlighten III | 1064 | 532nm (OD 7), 1064nm (OD 7), 670nm (OD 8) |  |  |  | 530 | 1070 | 7
Cutera | enlighten III | 670 | 532nm (OD 7), 1064nm (OD 7), 670nm (OD 8) |  |  |  | 530 | 1070 | 7
Cutera (Altus) | Coolglide |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Cutera (Altus) | Coolglide Excel |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Cutera (Altus) | Coolglide Vantage |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Cutera (Altus) | Genesis Plus |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Cutera (Altus) | Vantage |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Cutera (Altus) | Xeo |  | IPL / 1064 | Gi1 | Pi8 | Pi14 | 1060 | 1070
Cutera (Altus) | Enlighten |  | Picosec 1064 | Gi1 | Pi8 |  | 1060 | 1070
Cutera (Altus) | Secret Pro |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Cutera (Altus) | Excel V |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Cutera (Altus) | Excel V + |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Cutera (Altus) | Excel HR |  | 755/1064 | Pi4 | GiT5 |  | 750 | 1070
Cutera (Altus) | Titan
Cynosure | SculpSure |  | 1060 (OD 7) | Gi1 | Pi8 | GiT1 | 1050 | 1070
Cynosure | Icon |  | 1064 (OD 7), 1540 (OD 3), 2940 (OD 4) | Gi1 | GiT7 |  | 1064 | 2940
Cynosure | Icon IPL |  | IPL | Pi14
Cynosure | SmartLipo SLT II with CelluLaze (2012) |  | 1440 | Gi1 | Pi5 |  | 1430 | 1450
Cynosure | SmartLipo SLT II Triplex (2012) |  | 1064, 1320, 1440 | Gi1 |  |  | 1060 | 1450
Cynosure | Smartlip Triplex |  | 1064, 1320, 1440 | Gi1 |  |  | 1060 | 1450
Cynosure | Cynergy |  | 585, 1064 | Gi2.Gi1 | Pi22 |  | 580 | 1070
Cynosure | Vectus |  | 790-830 (OD 5) | GiT1 | Pi16
Cynosure | Erbium |  | 2940 | Pi10 | Gi1 |  | 2930 | 2950
Cynosure | MonaLisa Touch |  | 10600 (OD 4), 630-690 (OD 1) | Pi11 | Gi1 | Pi14 | 10599 | 10601
Cynosure | Smartskin + |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Cynosure | Accolade |  | 755 | Pi16 | GiT1 |  | 750 | 760
Cynosure | Apogee 40 |  | 755 | Pi16 | GiT1 |  | 750 | 760
Cynosure | Apogee 5500 |  | 755 | Pi16 | GiT1 |  | 750 | 760
Cynosure | Apogee 6200 |  | 755 | Pi16 | GiT1 |  | 750 | 760
Cynosure | Apogee 9300 |  | 755 | Pi16 | GiT1 |  | 750 | 760
Cynosure | Apogee ELMD |  | 755 | Pi16 | GiT1 |  | 750 | 760
Cynosure | PicoSure |  | 532, 755, 1064 (OD 7) | Pi18 | GiT1 |  | 530 | 1070
Cynosure | Revlite 585 Handpiece |  | 585nm (OD 7) | Gi2 | Pi7
Cynosure | Revlite 650 Handpiece |  | 650nm (OD 6.5) | Pi30
Cynosure | Revlite |  | 532nm (OD7) / 1064nm (OD 7) | Pi3 | GiT1 |  | 530 | 1070
Cynosure | Elite iQ |  | 755, 1064 (OD 7) | GiT5 | Pi4 | GiT1 | 750 | 1070
Cynosure | Elite+ |  | 755, 1064 (OD 7) | GiT5 | Pi4 | GiT1 | 750 | 1070
Cynosure | Elite IPL |  | IPL | Pi14
Cynosure | Apogee Elite |  | 755/1064 | Pi4 | GiT5 |  | 750 | 1070
Cynosure | Apogee Elite MPX (stay away from) |  | 755/1064 | Pi4 | GiT5 |  | 750 | 1070
Cynosure | Apogee Elite Plus |  | 755/1064 | Pi4 | GiT5 |  | 750 | 1070
Cynosure | Medlite C6 |  | 1064, (532,585, 650 handpieces) |  |  |  | 530 | 1070
Cynosure | Acclaim
Cynosure | Affirm
Cynosure | Apogee+
Cynosure | Cryo 5
Cynosure | Mini V
Cynosure | Photogenica V
Cynosure | Secret (RF Microneedling)
Cynosure | SMARTEPIL II
Cynosure | SmartLipo MPX
Cynosure | truSculpt Flex (Box & HP) MDS-Multi Directional Stimulation
Cynosure | V-Star
Cynosure/Hoya/ConBio | Medlite C3 |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Cynosure/Hoya/ConBio | Medlite II |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Cynosure/Hoya/ConBio | Medlite IV |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Deka | Smart US-20 D (25Watt) |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Deka | SmartXide (30Watt) |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Deka | SL040 (40Watt) |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Deka | SmartXide 50 (50Watt) |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
DeKa | SmartPerio |  | 1064nm | Gi1
DeKa | Smart US-20D CO2 Laser |  | 10,600nm | Pi19
DeKa | SmartXide Ultraspeed2 CO2 Laser |  | 10,600nm | Pi19
Denmat | Sol |  | 810nm | Pi1
Diomed | 15 Plus |  | 790-830 | Pi16 | GiT7 |  | 790 | 830
Diomed | 30 Plus |  | 790-830 | Pi16 | GiT7 |  | 790 | 830
Diomed / Biolitec | 630 PDT |  | 630 | Pi7 |  |  | 620 | 640 | We can add OD 4 620-640nm into spec
Diomed/Angiodynamics | Delta 15 |  | 790-830 | Pi16 | GiT7 |  | 790 | 830
Diomed/Angiodynamics | Delta 30 |  | 790-830 | Pi16 | GiT7 |  | 790 | 830
Dornier | Fibertome 8100 (100 Watt) |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Dornier | Thulio |  | 2013 | Gi1 | Pi23 |  | 2010 | 2020
Dornier | Medilas H |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Dornier | Medilas H 20 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Dornier | Medilas H 100 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Dornier | Medilas H 140 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Dornier | Medilas H Solvo 30 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Dornier | Medilas H Solvo 35 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Dornier | Medilase UroBeam |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Dornier | Medilase UroPulse - 20W |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Dornier MedTech | Medilas D LiteBeam+ - 15W/1470 |  | 1470 | Gi1 | Pi5 |  | 1460 | 1480
Dornier MedTech | Medilas D LiteBeam+ - 30W/940 15W/1470 |  | 940/1470 | GiT5 |  |  | 940 | 1470
Dornier MedTech | Medilas D - 30 |  | 940 | Pi4 | GiT5 |  | 935 | 945
Dornier MedTech | Medilas D - 60 |  | 940 | Pi4 | GiT5 |  | 935 | 945
Dornier MedTech | Medilas D FlexiPlus - 30W |  | 940 | Pi4 | GiT5 |  | 935 | 945
Dornier MedTech | Medilas D FlexiPlus - 60W |  | 940 | Pi4 | GiT5 |  | 935 | 945
Dornier MedTech | Medilas D FlexiPlus - 120W |  | 940 | Pi4 | GiT5 |  | 935 | 945
Dornier MedTech | Medilas D LiteBeam - 60W |  | 940 | Pi4 | GiT5 |  | 935 | 945
Dornier MedTech | Medilas D Multi-Beam 80W |  | 940 | Pi4 | GiT5 |  | 935 | 945
Eclipse | TMR2000 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Ellex | Ultra Q |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Ellex | Ultra Q R |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Ellex | Integre Pro Scan (Green) |  | 532 | GiT1 | Pi3 |  | 520 | 540
Ellex | Integre SP 532 |  | 532 | GiT1 | Pi3 |  | 520 | 540
Ellex | Solo (SLT) |  | 532 | GiT1 | Pi3 |  | 520 | 540
Ellex | Tango |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Ellex | Tango R |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Ellex | Tango Reflex Neo |  | 1064/533 | Pi3 | GiT1 |  | 530 | 1070
Ellex | Integre Pro Scan (Yellow) |  | 565 | Pi7 | Pi22 |  | 560 | 570
Ellex | Integre Pro (Green-Red) |  | 532, 561 |  |  |  | 530 | 565
Ellex | Integre Duo (Red-Green) |  | 532, 670 |  |  |  | 530 | 680
Ellex | Integre Pro Scan (Green-Red) |  | 532, 670 |  |  |  | 530 | 680
Ellex | Integre Pro (Yellow-Red) |  | 561, 670
Ellex | Integre Pro Scan (Yellow-Red) |  | 561, 670
Ellex | Eye Cubed |  | AB Scan
Ellex/Laserex | Super Q |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Ellex/Laserex | Ultra Q |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Endo Optiks | E2 |  | 810 | Pi1 | GiT5 |  | 800 | 820
Fotana | SP Dynamis
Fotana | AvalancheLase
Fotana | StarWalker MaQX
Fotana | StarWalker PQX
Fotana | TimeWalker Fotona4D
Fotana | StarFormer TightWave
Fotana | XS Dynamis
Fotana | XP Dynamis
Fotana | QX Max
Fotana | Xpulse
Fotana | TimeWalker IntimaLaser
Fotana | FotonaSmooth SP
Fotana | FotonaSmooth XS
Fotana | StarFormer IntimaWave
Fotana | LightWalker
Fotona | Nd:YAG 1064 | 1064 | 1064nm (OD 7) (LB 7) | Gi1 | Pi8 |  | 1060 | 1070
Fotona | Q-switched Nd:YAG 1064 | 1064 | 1064nm (OD 6) (LB 6) | Gi1 | Pi8 |  | 1060 | 1070
Fotona | Accelera Pulse Nd:YAG 1064 | 1064 | 1064nm (OD 6) (LB 6) | Gi1 | Pi8 |  | 1060 | 1070
Fotona | Q-switched Beam Converter 585 | 585 | 585nm (OD 5) (LB 5) | Gi2 | Pi7 |  | 570 | 595
Fotona | Er:YAG 2940 | 2940 | 2940nm (OD 4) (LB 4) | Pi23 | Gi1 |  | 2930 | 2950
Fotona | QX MAX |  | Q-Switched 1064/532 | Pi3 | GiT1 |  | 532 | 1064
Fotona | Freq-doubled KTP Nd:YAG 532 | 532 | 532nm (OD 6) (LB 6) | Pi3 | GiT1 |  | 520 | 540
Fotona | Q-switched Beam Converter 650 | 650 | 650nm (OD 6) (LB 6) |  |  |  | 640 | 660
Fotona | LightWalker AT |  | 1064nm / 2940nm | Gi1
Fotona | LightWalker AT S |  | 1064nm / 2940nm | Gi1
Fotona | Lightwalker ST-E |  | 2940nm | Gi1
Fotona | SkyPulse Endo |  | 2940nm | Gi1
Fotona | SkyPulse Versa |  | 2940nm | Gi1
Fotona | NightLase |  | 2940nm | Gi1
GPT Dental | DENTA CO2 |  | 10600nm | Pi19
Indigo | 830e
Indigo | Optima (LS83F)
Iridex | IQ 577 |  | 577 | Gi2 | Pi7 |  | 570 | 580
Iridex | Pascal Synthesis |  | 577 | Gi2 | Pi7 |  | 570 | 580
Iridex | IQ 532 |  | 532 | GiT1 | Pi3 |  | 520 | 540
Iridex | Pascal Synthesis |  | 532 | GiT1 | Pi3 |  | 520 | 540
Iridex | IQ 810 |  | 810 | Pi1 | GiT5 |  | 800 | 820
Iridex | Cyclo G6 |  | 830 | Pi1 | GiT5 |  | 820 | 840
Iridex | Pascal Synthesis TwinStar |  | 532, 638
Iridex/Iriderm | Diolite 532 |  | 532 | GiT1 | Pi3 |  | 520 | 540
Iridex/Iris | Oculight TX Green |  | 532 | GiT1 | Pi3 |  | 520 | 540
Iridex/Iris Medical | Oculight GL |  | 532 | GiT1 | Pi3 |  | 520 | 540
Iridex/Iris Medical | Oculight GLx |  | 532 | GiT1 | Pi3 |  | 520 | 540
Iridex/Iris Medical | Oculight SL |  | 810 | Pi1 | GiT5 |  | 800 | 820
Iridex/Iris Medical | Oculight SLx |  | 810 | Pi1 | GiT5 |  | 800 | 820
King Medical | Beamer STL 980 |  | 980nm | Pi17
Lasag/Meridian | MR II |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Lasag/Meridian | MR III |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Lasag/Meridian | Topaz |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Laser Engineering | MD40 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Laser Engineering | MD50 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Laser Engineering | MD55 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Laser Engineering | MD60 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Laser Engineering | MD75 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Laserex | 3000LX |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Laserex | LQP 3106 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Laserex | Solitaire |  | 532 | GiT1 | Pi3 |  | 520 | 540
Laserscope | Lyra-i |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Laserscope | Stonelight |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Laserscope | 532 |  | 532 | GiT1 | Pi3 |  | 520 | 540
Laserscope | Aura |  | 532 | GiT1 | Pi3 |  | 520 | 540
Laserscope | Aura i |  | 532 | GiT1 | Pi3 |  | 520 | 540
Laserscope | Aura StarPulse |  | 532 | GiT1 | Pi3 |  | 520 | 540
Laserscope | Venus-i |  | 2940 | Pi10 | Gi1 |  | 2930 | 2950
Laserscope | 700 |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Laserscope | 703 |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Laserscope | 800 |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Laserscope | 803 |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Laserscope | 813 |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Laserscope | Gemini |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Laserscope | 630 PDT |  | 630 | Pi7 |  |  | 620 | 640 | We can add OD 4 620-640nm into spec
Light Age | Q-Clear |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
LightForce | XPI 25 Watt |  | 810/980 | Pi4 | GiT5 |  | 810 | 980
LightForce | XLI 40 Watt |  | 810/980 | Pi4 | GiT5 |  | 810 | 980
LightScalpel | LS-1005 (10Watt Dental) |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
LightScalpel | LS-2010 (20Watt Dental) |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
LightScalpel | LS-1005 |  | 10600nm | Pi19
LightScalpel | LS-2010 |  | 10600nm | Pi19
Lisa Laser | Sphinx 30W |  | 2123 | Gi1 | Pi23 |  | 2120 | 2130
Lisa Laser | Sphinx 45W |  | 2123 | Gi1 | Pi23 |  | 2120 | 2130
Lisa Laser | Sphinx 60W |  | 2123 | Gi1 | Pi23 |  | 2120 | 2130
Lisa Laser | Sphinx 80W |  | 2123 | Gi1 | Pi23 |  | 2120 | 2130
Lisa Laser | Sphinx 100W |  | 2123 | Gi1 | Pi23 |  | 2120 | 2130
Lorad | SoftLight |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Lumenis | Aura-PT |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Lumenis | M22 handpiece #3 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Lumenis | M22 handpiece #4 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Lumenis | M22 Stellar handpiece #3 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Lumenis | M22 Stellar handpiece #4 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Lumenis | M22 handpiece #2 |  | 1565 | Gi1 | Pi5 |  | 1560 | 1570
Lumenis | M22 Stellar handpiece #2 |  | 1565 | Gi1 | Pi5 |  | 1560 | 1570
Lumenis | P20 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Lumenis | Pulse 100H |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Lumenis | Pulse 120H (Moses) (hasp) |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Lumenis | Pulse 30H (laptop) |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Lumenis | Pulse 50H |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Lumenis | Pulse 60H (hasp) |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Lumenis | VersaPulse PowerSuite 100 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Lumenis | VersaPulse PowerSuite 60 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Lumenis | VP Powersuite 100 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Lumenis | VP PowerSuite 20 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Lumenis | VP PowerSuite 30 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Lumenis | VP PowerSuite 60 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Lumenis | VersaPulse PowerSuite 80/100 |  | 2100/1064 | Gi1 | Pi23 |  | 1060 | 2100
Lumenis | VP PowerSuite 80/100 |  | 2100/1064 | Gi1 | Pi23 |  | 1060 | 2100
Lumenis | Novus Spectra |  | 532 | GiT1 | Pi3 |  | 520 | 540
Lumenis | Novus Varia |  | 532 | GiT1 | Pi3 |  | 520 | 540
Lumenis | Lightsheer EP |  | 800 | Pi1 | GiT5 |  | 790 | 810
Lumenis | Lightsheer ET |  | 800 | Pi1 | GiT5 |  | 790 | 810
Lumenis | Lightsheer XC |  | 800 | Pi1 | GiT5 |  | 790 | 810
Lumenis | Lightsheer Desire |  | 805 (3) handpiece sizes | Pi1 | Pi16 |  | 800 | 810
Lumenis | AcuPulse 30/40A |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Lumenis | AcuPulse 40 w/Femitouch |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Lumenis | AcuPulse 40WG (waveguide only) |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Lumenis | AcuPulse Duo |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Lumenis | Smart 532 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Lumenis | UltraPulse Duo |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Lumenis | UltraPulse Encore |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Lumenis | UltraPulse Surgitouch |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Lumenis | UltraPulse Total FX |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Lumenis | Acupulse 30ST/40ST (Surgitouch) |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Lumenis | M22 Stellar |  | 4 Handpiece capable | Pi14
Lumenis | M22 handpiece #1 |  | 400-1200 | Pi14
Lumenis | M22 Stellar handpiece #1 |  | 400-1200 | Pi14
Lumenis | Selecta II (SLT) |  | Q-Switched 532 | Pi3 | GiT1 |  | 530 | 540
Lumenis | Digital Duet |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Lumenis | Selecta Duet (Coherent Version) |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Lumenis | Selecta Duet (LX version) |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Lumenis | Digital Trio |  | 1064/532/532 | Pi3 | GiT1 |  | 530 | 1070
Lumenis | Selecta Trio (2 lasers) |  | 1064/532/DPSS532 combo | Pi3 | GiT1 |  | 530 | 1070
Lumenis | Splendor X |  | 755/1064 | Pi4 | GiT5 |  | 750 | 1070
Lumenis | Lightsheer Infinity |  | 805/1060 | Pi4 | GiT5 |  | 805 | 1060
Lumenis | Lightsheer Duet |  | 805/1060 | Pi4 | GiT5 |  | 805 | 1060
Lumenis | Lightsheer Quattro |  | 805/1060 | Pi4 | GiT5 |  | 805 | 1060
Lumenis | PiQo4 |  | 1064 YAG / 532 / 650 / 585 |  |  |  | 530 | 1070
Lumenis | Novus 3000 |  | 532/561/659 |  |  |  | 530 | 680
Lumenis | Vision One |  | 532/577/659
Lumenis | LIO
Lumenis | M22
Lumenis | OptiLight (M22 platform)
Lumenis | Quantum IPL
Luxar | LX20 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Luxar | LX-20i |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Luxar | LX-20SP |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Luxar | NovaPulse |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Medical Energy | SoftLight
Meditek | QL15 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
MedX | 1100 (450mW Handhelp array) |  | 1470 (10W) | Gi1 | Pi5 |  | 1460 | 1480
Millennium Dental Technologies | PerioLase MVP-7 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Newstar/Cooltouch Lasers | CT3Plus |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Newstar/Cooltouch Lasers | CT3PZ |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Newstar/Cooltouch Lasers | CTV3 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Newstar/Cooltouch Lasers | CTVBZS |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Newstar/Cooltouch Lasers | LC225 (Trio) |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Newstar/Cooltouch Lasers | Cooltouch I |  | 1320 | Gi1 | Pi5 |  | 1310 | 1330
Newstar/Cooltouch Lasers | Cooltouch II |  | 1320 | Gi1 | Pi5 |  | 1310 | 1330
Newstar/Cooltouch Lasers | Cooltouch III |  | 1320 | Gi1 | Pi5 |  | 1310 | 1330
Newstar/Cooltouch Lasers | Cooltouch III S |  | 1320 | Gi1 | Pi5 |  | 1310 | 1330
Newstar/Cooltouch Lasers | NS 130 |  | 1320 | Gi1 | Pi5 |  | 1310 | 1330
Newstar/Cooltouch Lasers | NS 1500 |  | 1320 | Gi1 | Pi5 |  | 1310 | 1330
Newstar/Cooltouch Lasers | NS 160 CT EV |  | 1320 | Gi1 | Pi5 |  | 1310 | 1330
Newstar/Cooltouch Lasers | NS160 - 10Watt |  | 1320 | Gi1 | Pi5 |  | 1310 | 1330
Newstar/Cooltouch Lasers | NS160-10W-CTEV |  | 1320 | Gi1 | Pi5 |  | 1310 | 1330
Newstar/Cooltouch Lasers | NS160-15W |  | 1320 | Gi1 | Pi5 |  | 1310 | 1330
Newstar/Cooltouch Lasers | NS160-CL |  | 1320 | Gi1 | Pi5 |  | 1310 | 1330
Newstar/Cooltouch Lasers | Prima |  | IPL | Pi14
Newstar/Cooltouch Lasers | Varia
Nidek | YC 1200 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Nidek | YC 1400 YAG |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Nidek | YC 1600 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Nidek | YC 1800 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Nidek | YC1800 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Nidek | YC200 YAG |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Nidek | GYC 500 |  | 532 | GiT1 | Pi3 |  | 520 | 540
Nidek | GYC 500D |  | 532 | GiT1 | Pi3 |  | 520 | 540
Nidek | GYC 500 Vixi |  | 532 | GiT1 | Pi3 |  | 520 | 540
Nidek | GYC 1000 Diode |  | 532 | GiT1 | Pi3 |  | 520 | 540
Nidek | GYC 1500 (Prima) |  | 532 | GiT1 | Pi3 |  | 520 | 540
Nidek | GYC 2000 |  | 532 | GiT1 | Pi3 |  | 520 | 540
Nidek | COL 1040 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Nidek | YC1800/GYC-1000 Combo |  | 1064/532 combo | Pi3 | GiT1 |  | 530 | 1070
Nidek | MC-500 |  | 532, 577, 647
Nidek | MC-500 Vixi (Scanner) |  | 532, 577, 647
NovadaQ/PLC Medical System | Heart Laser II |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Olympus | Soltive |  | 1940 | Gi1 | Pi23 |  | 1930 | 1950
Olympus | EmPower H35 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Olympus | Empower H65 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Omniguide | C-Las |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Omniguide | Fels 25A |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Omniguide | FELS-25A w/Intelliguide |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Omniguide | Beacon |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
OmniGuide/Lisa Laser | Revolix (70 Watt) |  | 2013 | Gi1 | Pi23 |  | 2010 | 2020
OmniGuide/Lisa Laser | Revolix (120 Watt) |  | 2013 | Gi1 | Pi23 |  | 2010 | 2020
OmniGuide/Lisa Laser | Revolix Jr. (15 Watt) |  | 2013 | Gi1 | Pi23 |  | 2010 | 2020
OmniGuide/Lisa Laser | Revolix (200 Watt) |  | 2013 & 2123 | Gi1 | Pi23 |  | 2010 | 2130
OmniGuide/Lisa Laser | Revolix Duo 150/20 & 20 |  | 2013 & 2123 | Gi1 | Pi23 |  | 2010 | 2130
Palomar | Q-YAG5 |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Palomar | Medilux
Palomar | Starlux 300
Palomar | Starlux 500
Periolase | MVP-7
PhotoMedex | LaserPro CTH |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
PhotoMedex | Xtrac |  | 308 | Pi11 |  |  | 300 | 310
PhotoMedex | LaserPro CO2 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Quanta | Litho 35 Watt (PVMS00037) |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Quanta | Litho 60 (60 Watt) |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Quanta | Litho 100 (100 Watt) |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Quanta | Litho 150 (150 Watt) |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Quantel / Lumibird / Ellex | Optimis II |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Quantel / Lumibird / Ellex | Vitra 532 |  | 532 | GiT1 | Pi3 |  | 520 | 540
Quantel / Lumibird / Ellex | Vitra 810 |  | 810 | Pi1 | GiT5 |  | 800 | 820
Rian | LTU-904 |  | 904 | Pi4 | GiT5 |  | 900 | 910
Richmar | TheraTouch |  | 650/850 clusters |  |  |  | 650 | 850
Sciton Lasers | mJoule w/ Moxi and BBL Hero |  | 1927/BBL | Gi1 | Pi23 | Pi14 | 1920 | 1930
Sciton Lasers | Contour |  | 2940 | Pi10 | Gi1 |  | 2930 | 2950
Sciton Lasers | Profile Platform (up to 4 outputs) |  | 1064/1319/2940/515-695 |  |  |  | 510 | 2950
Sciton Lasers | Joule Platform (up to 6 outputs) |  | 755/1064/1319/1470/2940/515-695
Sharplan/ESC Medical Systems | 2100 / 3000 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Sharplan/ESC Medical Systems | 2025 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Sharplan/ESC Medical Systems | Derma 20 |  | 2940 | Pi10 | Gi1 |  | 2930 | 2950
Sharplan/ESC Medical Systems | 1020 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 1030 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 1039 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 1040 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 1041 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 1050 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 1055 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 1060 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 1075 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 1100 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 1040C |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 1041S |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 1055S |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 1080 Silktouch |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 150XJ |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 20C |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 30C |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 40C |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 60XJ |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 80XJ |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | 150 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Sharplan/ESC Medical Systems | Photoderm Vasculight |  | 755 | Pi16 | GiT1 |  | 750 | 760
Sharplan/ESC Medical Systems | Derma K |  | 2940/10600 | Pi23 | Gi1 |  | 2930 | 2950
Sharplan/ESC Medical Systems | Epilight
Sharplan/ESC Medical Systems | Epitouch 5100 Alexandrite
Sharplan/ESC Medical Systems | Quantum
Sirona Dentsply | Siro Blue |  | 440-450nm OD5, 655-665nm OD1, 960-985nm OD5 | Pi17
SLT | CL 100 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
SLT/Photomedex | CL 60 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
SLT/Photomedex | CLMD |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
SLT/Photomedex | CLMD 40/60 |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
SLT/Photomedex | CLMD DUAL |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Solta Medical / Clear + Brilliant | handpiece (only) |  | 1440 | Gi1 | Pi5 |  | 1430 | 1450
Solta Medical / Clear + Brilliant | Permea Handpiece (only) |  | 1927 | Gi1 | Pi23 |  | 1930 | 1940
Solta Medical / Clear + Brilliant | platform (only) |  | Platform
Solta Medical / Reliant | Reliant Fraxel 1500 |  | 1550 | Gi1 | Pi5 |  | 1540 | 1560
Solta Medical / Reliant | Reliant Fraxel Restore |  | 1550 | Gi1 | Pi5 |  | 1540 | 1560
Solta Medical / Reliant | Reliant Fraxel Dual |  | 1550, 1927 | Gi1 | GiT5 |  | 1540 | 1930
Solta Medical / Reliant | Reliant Fraxel SR 1500 |  | 1550, 1927 | Gi1 | GiT5 |  | 1540 | 1930
Solta Medical / Reliant | Reliant Fraxel Restore Dual |  | 1550, 1927 | Gi1 | GiT5 |  | 1540 | 1930
Solta Medical / Reliant | Reliant Fraxel repair |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Solta Medical / Thermage | Thermage FLX
Spectranetics | CVX300 |  | 308 | Pi11 |  |  | 300 | 310
Spectrum | RD1200 |  | 695 | GiT1 |  |  | 690 | 700
SSI | MD60 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
SSI | Ultra MD 40/60W |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
SSI | Ultra MD40 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
SSI | UltraMD |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Surgilase/SLS | 100 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Surgilase/SLS | 150XJ |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Surgilase/SLS | SLS 25 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Surgilase/SLS | SLS 40 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Surgilase/SLS | SLS 45 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Surgilase/SLS | SLS 60 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Syneron | Emax |  | (700-1200) & RF | GiT7 |  |  | 700 | 1200
Syneron | Aurora |  | 700-1200 | GiT7 |  |  | 700 | 1200
The Chattanoga Group | Vectra Genysis |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
THOR | 810nm Infra Red Single Laser Dental Probe |  | 810nm OD 3 | Pi1
THOR | 810nm 1W laser cluster (5 x 200mW) |  | 810nm OD 4 | Pi1
THOR | 810nm 200mW single laser probe |  | 810nm OD 3 | Pi1
Trimedyne Lasers | OmniPulse |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Trimedyne Lasers | OmniPulse Max 1210 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Ultradent | Gemini Laser |  | 810nm / 980nm | Pi17
Union Medical | UM-L25 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Vascular Solutions | Vari-Lase
Wontech | Pastelle
Wontech | Picocare
Wontech | V Laser
Xanar | XAM 15 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Xanar | XAM 20 |  | 10600 | Pi11 | Gi1 |  | 10599 | 10601
Xintec/Convergent Laser Technologies | Odyssey 30 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Xintec/Convergent Laser Technologies | Optica 60 |  | 2100 | Gi1 | Pi23 |  | 2090 | 2110
Zeiss | Visulas YAG II |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Zeiss | Visulas III |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Zeiss | Visulas YAG III |  | 1064 | Gi1 | Pi8 |  | 1050 | 1070
Zeiss | Visulas 532s |  | 532 | GiT1 | Pi3 |  | 520 | 540
Zeiss | Visulas Green |  | 532 | GiT1 | Pi3 |  | 520 | 540
Zeiss | Visulas 690S |  | 690 | GiT7 |  |  | 680 | 700
Zeiss | Visulas 532/YAG III Combi |  | 532/1064 | Pi3 | GiT1 |  | 530 | 1070
Zeiss | Visulas YAG III Combi |  | 1064/532 | Pi3 | GiT1 |  | 530 | 1070
Zeiss | Visulas - Argon |  | 488.5/514 | Pi3 | GiT1 |  | 485 | 515
Zeiss | Visulas 532s |  | 532 1.5Watt | Pi3 | GiT1 |  | 530 | 540
Zeiss | Yag / Argon Combi |  | 1064/488.5/514 |  |  |  | 485 | 1070
Zeiss | Visulas Trion |  | green/yellow red
Zeiss | Visulas Trion Combi |  | green/Yellow/Red/YAG
Zimmer | Cryo 5
Zimmer | Cryo 6
Zolar | Photon dental diode laser |  | 810nm | Pi1
Zolar | Photon Plus Dental Diode Laser |  | 980nm | Pi17

## Dental_Laser_Types
Biolase | Waterlase iPlus | 2780 | 2780nm (OD 4) (DI LB4)
Biolase | Waterlase Express | 2780 | 2780 (OD 4) (DI LB3)
Biolase | Epic 10 | 940 | 940nm (OD 4) (DIR LB4)
Biolase | Epic X | 940 | 940 ± 10nm (OD 4) (DIR LB4)
Biolase | Epic Pro | 940 | 940 ± 20nm (OD 5) (DIR LB5), 980 ± 20nm (OD 5) (DIR LB5)
Biolase | Epic Pro | 980 | 940 ± 20nm (OD 5) (DIR LB5), 980 ± 20nm (OD 5) (DIR LB5)
Biolase | Epic Hygene | 980 | 980 ± 10nm (OD 4) (DIR LB4)
Biolase | Waterlase Fractional | 2780 | 2780nm (OD 4) (DI LB4)

## Applications
Wavelength | Laser type | Application | Chromophore
595 | Pulsed dye | Used in the treatment of superficial vascular lesions | Oxyhemoglobin
1064 | NdYAG | Used for tattoo and hair removal | Melanin?
532 | KTP
755 | Alexandrite
730
785
IPL
1550 | Fractional
10600 | Carbon Dioxide | For tissue ablation | Water
1726
2790
2940 | ErYAG
670
810 | Diode
920 | Diode

## Loupe_types
Mfg | Mod | Size | Insert Part Number
Orascoptic | 01 Frame | 50-19 (on the nose bridge) | 01S
Orascoptic | 01 Frame | 53-19 | 01M
Orascoptic | 01 Frame | 55-19 | 01M
Orascoptic | 01 Frame | 58-19 | 01L
Orascoptic | 02 Frame | 49-19 | 02S
Orascoptic | 02 Frame | 51-19 | 02S
Orascoptic | 02 Frame | 53-19 | 02L
Orascoptic | 02 Frame | 54-19 | 02L
Orascoptic | Victory | 53-19 Victory Small | VM
Orascoptic | Victory | 55-19 Victory Medium | VM
Orascoptic | Victory | 57-19 Victory Large | VL
Orascoptic | Rudy Project | Rudy/Rydon | IVR
Orascoptic | Rudy Project | Rudy/Rydon Deep B | IVL
Orascoptic | Rudy Project | Rave | IVR
Orascoptic | Revolution | Revolution | IVR
Orascoptic | XV1 | XV1 | IVL
Orascoptic | Legend | Small 52-36 | LM
Orascoptic | Legend | Medium 55-38 | LM
Orascoptic | Legend | Large 58-40 | LM
Orascoptic | Legend | 52-44 | IVL
Orascoptic | Tempo | Small | IVR
Orascoptic | Tempo | Large | Primo
Orascoptic | Dragonfly | One size | IVL
Surgitel |  | 46-18 | 02XS
Surgitel |  | 50-18 | 02S
Surgitel |  | 50-20 | 02M
Surgitel | Aero | 50-20 | IVL
Surgitel |  | 50-24 | 52
Surgitel | Aero | 53-19 | VM
Surgitel | Aero | 52-20 | 01L
Surgitel |  | 53-21 | 01S
Surgitel | Oakley Flak Jacket | One size | IVL
Surgitel | Ergo | S/48-17 | LM
Surgitel | Ergo | L/ 55-19 | 02S
Surgitel | Sundog | One size | SR
Surgitel | Contour flex | One size | IVL
Zeiss | One style | 50-18 | VS
Zeiss | One style | 54-18 | 01L
Zeiss | One style | 53-20 | 01S
Zeiss | One style | 56-18 | VL
Q-Optics | Eclipse | 131 (Petite) | IVR
Q-Optics | Eclipse | 139 (Medium) | IVL
Q-Optics | Eclipse | 150 (Large) | IVL
Q-Optics | 877 | 54-19 | LM
Q-Optics | 877 | 56-19 | LM
Q-Optics | 879 | 51-19 | LM
Q-Optics | 879 | 53-19 | LM
Q-Optics | Prism | One size | IVL
Perioptix | Advista | One size | IVR
Perioptix | Rimz | One size | IVL
Perioptix | Hoagie | One size | IVL
Sheer Vision | Under Armour Enforcer | One size | IVL
Sheer Vision | Under Armour Igniter | One size | IVL
Sheer Vision | Titanium Medium | One size | 01S
Sheer Vision | Zone XL | One size | IVL
Sheer Vision | Surge | One size | IVR
Sheer Vision | Performance Oval Medium | One size | 02S
Sheer Vision | Del Rey | One size | IVR
Ultra Light Optics | Flat | One size | 02L
Ultra Light Optics | Sport/TC | One size | IVL
Designs for Vision | Yeoman | 54-22 | 52
Designs for Vision | Yeoman | 52-24 | 52
Designs for Vision | Yeoman | 52-22 | 52
Designs for Vision | Yeoman | 50-24 | 52
Designs for Vision | Yeoman | 50-22 | 52
Designs for Vision | Yeoman | 48-24 | 50
Designs for Vision | Yeoman | 48-22 | 50
Designs for Vision | Yeoman | 48-20 | 50
Designs for Vision | Yeoman | 46-24 | 50
Designs for Vision | Yeoman | 46-22 | 48
Designs for Vision | Yeoman | 46-20 | 48
Designs for Vision | Yeoman | 44-22 | 48
Designs for Vision | Yeoman | 42-22 | 48
Designs for Vision | Yeoman | 55-17 | 01S
Designs for Vision | Yeoman | 56-18 | VL
Designs for Vision | Steam | 52-16 | IVL
Designs for Vision | Steam | 077 48-18 (Oval) | 02XS
Designs for Vision | Steam | 047 51-18 (Round) | 48
Designs for Vision | Steam | 062 54-19 | 01M
Designs for Vision | Steam | 109 52-17 | VM
Designs for Vision | Steam | 052 57-17 (Aviator) | 52
Designs for Vision | Steam | Steam | IVL
Designs for Vision | Steam | Icon | IVL
Designs for Vision | Steam | Nike Retro | IVR
Designs for Vision | Steam | Nike Run | SR
Designs for Vision | Steam | DVI Sport Small | IVR
Designs for Vision | Steam | DVI Sport Large | IVL
Designs for Vision | Nike Skylon Ace | One size | SR
Designs for Vision | Skyview | One size | IVR
Lumadent | Argon | One size | IVL
Lumadent | Standard | One size | Primo
Univet | Ash | Small | IVR
Univet | Ash | Large | LM
Univet | Techne | One size | IVL
Univet | Model 546 | One size | IVL
Univet | Iris | One size | IVR
Heine | S-Frame | Sport frame/wraparound | IVL
Andau | Bolle | One size | IVR
Andau | ProGear | One size | IVL
Andau | MOS | One size | IVL.R
Andau | MOS-W | One size | IVL.R
Andau | Blues LG | One size | IVL.R
Andau | Blues MD | One size | IVL.R
Andau | Indie LG | One size | IVL.R
Andau | Indie MD | One size | IVL.R
Andau | Soul LG | One size | IVL.R
Andau | Soul MD | One size | IVL.R
Andau | Jazz | One size | IVR

## Lens_details
Wavelength | Lens | Summary | OD | VLT | Shape | Material | CE | Website | Image | Graph | Price(from)
| Gi2 | Fair functional VLT, High precision identification of red and blue objects, minimally fatiguing to wearer although relatively heavy | 574-595nm (OD 6), 596nm (OD 5.5), 736-755nm (OD 7) | 0.18 | flat | Glass |  | https://innovativeoptics.com/gi2-laser-glasses-frame/ | https://innovativeoptics.com/wp-content/uploads/2021/12/Gi2-circle-lenses.jpg | graphs/Gi2_plot.png | 395
| Pi3 | Significant orange to red light transmission, lightweight, relatively inexpensive | 190-532nm (OD 7), 850-900nm (OD 5), 900-1070nm (OD 6), 960-1064nm (OD 7), 9000-11000nm (OD 7) | 0.26 | curved | Polycarbonate | 190-315 D LB7 + IR LB3, 316-532 D LB5 + IR LB6 + M LB6Y, 910-970 DIR LB6 + M LB6Y, 970-1070 D LB6 + IR LB7 + M LB7Y, 1071-1092 DIRM LB5, 1093-1100 DIRM LB4 INVO CE UKCA | https://innovativeoptics.com/pi3-laser-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2021/05/Pi3-laser-glasses-NEW.jpg | graphs/Pi3_plot.png | 195
| Gi2.Gi1 | Fair functional VLT, high precision identification of red and blue objects, minimally fatiguing to wearer although relatively heavy | 574-595nm (OD 6), 596nm (OD 5.5), 736-755nm (OD 7), 900-925nm (OD 4), 925-1000nm (OD 5), 1000-1025nm (OD 6), 1025-1400nm (OD 7), 1400-2400nm (OD 5), 2770-10600nm (OD 4), 10600nm (OD 5) | 0.15 | flat | Glass |  | https://innovativeoptics.com/contact/ | https://innovativeoptics.com/wp-content/uploads/2021/12/Gi2-circle-lenses.jpg | www/graphs/Gi2.Gi1_plot.png
| GiT1 | Fair VLT | 532nm (OD 7), 755nm (OD 8), 800-900nm (OD 5), 900-925nm (OD 4), 925-1000nm (OD 5), 1000-1025nm (OD 6), 1025-1400nm (OD 7), 1400-2400nm (OD 4), 2770-10600nm (OD 5) | 0.3 | flat | Glass |  | https://innovativeoptics.com/git1-laser-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2021/12/GiT1-circle-lenses.jpg | graphs/GiT1_plot.png | 295
| GiT5 | Above average VLT | 650-655nm (OD3), 655-666nm (OD4), 666-675nm (OD5), 675-1025nm (OD6), 755nm (OD8), 1025-1400nm (OD7), 1400-2400nm (OD5), 2770-10,600nm (OD4), 10,600nm (OD5) | 0.6 | flat | Glass |  | https://innovativeoptics.com/git5-laser-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2021/12/GiT5-circle-lenses.jpg | graphs/GiT5_plot.png | 395
| Gi1 | High functional VLT, high precision identification of red and blue objects, minimally fatiguing to wearer although relatively heavy | 900-925nm (OD 4), 925-1000nm (OD 5), 1000-1025nm (OD 6), 1025-1400nm (OD 7), 1400-2400nm (OD 5), 2770-10600nm (OD 4), 10600nm (OD 5) | 0.65 | curved | Glass | 900-925nm DIR LB4, 925-1000nm DIR LB5, 1000-1025nm DIR LB6, 1025-1400nm D LB6 + IR LB7, 1400-2400nm DI LB5 + R LB3Y, 2770-10600nm DI LB4 INVO CE UKCA | https://innovativeoptics.com/gi1-laser-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2018/07/Gi1-laser-glasses.jpg | graphs/Gi1_plot.png | 295
| Pi4 | Fair transmission of green light, lightweight and relatively inexpensive | 190-450nm (OD 4), 655-665nm (OD 2), 730-1085nm (OD 5), 755nm (OD 7), 1064nm (OD 7), 9000-11000nm (OD 7) | 0.39 | curved | Polycarbonate | 730-778nm DIR LB5, 779-790nm DIR LB4, 791-1085nm DIR LB5, 755nm D LB6 + IR LB7, 1064nm D LB6 + IR LB7 INVO CE UKCA | https://innovativeoptics.com/pi4-laser-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2021/05/Pi4-laser-glasses-NEW.jpg | graphs/Pi4_plot.png | 189
| Pi14 | Low visible transmission of mostly green light, lightweight and intended for IPL only | 300-1400nm (OD 1), 9000-11000nm (OD 7) | 0.09 | curved | Polycarbonate |  | https://innovativeoptics.com/shade-3-ipl-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2019/11/8x2-IPL-Shade3.png | graphs/Pi14_plot.png | 59
| Pi11 | High VLT, lightweight and relatively inexpensive | 9000-11000nm (OD 7) | 0.9 | curved | Polycarbonate | 9000-11000 DI LB4 INVO CE UKCA | https://innovativeoptics.com/pi11-laser-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2018/11/Pi10-laser-glasses.jpg | graphs/Pi11_plot.png | 59
| Pi23 | Moderate transmission of light across the visible spectrum, blocks near infrared, lightweight | 1010-1090nm (OD7), 1064nm (OD10), 1650-2700nm (OD4), 2700-3000nm (OD5), 9000-11000nm (OD7) | 0.25 | curved | Polycarbonate |  | https://innovativeoptics.com/contact/ | https://innovativeoptics.com/wp-content/uploads/2022/02/Pi19-laser-glasses.jpeg | graphs/Pi23_plot.png
| Pi10 | High VLT, lightweight and relatively inexpensive | 2780-3000nm (OD 4), 9000-11000nm (OD 7) | 0.9 | curved | Polycarbonate | 2780-3000 DI LB3 INVO CE UKCA | https://innovativeoptics.com/pi10-laser-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2018/11/Pi10-laser-glasses.jpg | graphs/Pi10_plot.png | 129
| Pi7 | Low functional VLT, lightweight and great for patients | 581-599nm (OD 6), 583-595nm (OD 7), 585-589 (OD 8), 640-670nm (OD 5), 650-665nm (OD 6), 9000-11000nm (OD 7) | 0.15 | curved | Polycarbonate |  | https://innovativeoptics.com/pi7-laser-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2018/10/Pi7-laser-glasses.jpg | graphs/Pi7_plot.png | 265
| Pi22 | Low VLT, lightweight and great for clinical observers | 585-603nm (OD5), 587-600nm (OD6), 595nm (OD8), 900-1080nm (OD5), 970-1070nm (OD 6), 9000-11000nm (OD 7) | 0.09 | curved | Polycarbonate |  | https://innovativeoptics.com/contact/ | https://innovativeoptics.com/wp-content/uploads/2018/04/PP26-laser-glasses.jpg | graphs/Pi22_plot.png
| Pi18 | Low VLT, lightweight and relatively inexpensive | 190-532nm (OD 7), 720-770nm (OD 7), 755nm (OD 8), 770-800nm (OD 6), 800-900nm (OD 5), 900-1077nm (OD 6), 9000-11000nm (OD 7) | 0.13 | curved | Polycarbonate |  | https://innovativeoptics.com/pi18-laser-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2021/12/Pi18-laser-glasses.jpg | graphs/Pi18_plot.png | 195
| Pi16 | Fair VLT, lightweight and relatively inexpensive | 200-400nm (OD 4), 730-840nm (OD 5), 750-800nm (OD 7), 9000-11000nm (OD 7) | 0.32 | curved | Polycarbonate | 190-315 D LB7 + IR LB4, 315-390 D LB5 + I LB7Y + R LB7, 750-810 D LB5 + I LB7Y + R LB7 + M LB7Y, 810-830 DIR LB5 INVO CE UKCA | https://innovativeoptics.com/pi16-laser-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2018/04/PP26-laser-glasses.jpg | graphs/Pi16_plot.png | 195
| Pi8 | High VLT, lightweight and relatively inexpensive | 1010-1091nm (OD 5), 1020-1078nm (OD 6), 1030-1070nm (OD 7), 9000-11000nm (OD 7) | 0.5 | curved | Polycarbonate | 1025-1075 DIR LB5 + M LB5Y, 1035-1070 DIR LB6 + M LB6Y, 1045-1065 D LB6 + IR LB7 + M LB7Y INVO CE UKCA | https://innovativeoptics.com/pi8-laser-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2018/10/Pi8-laser-glasses.jpg | graphs/Pi8_plot.png | 195
| Pi5 | Low VLT, lightweight and great for patients | 190-470nm (OD 5), 600-800nm (OD 1), 800-1750nm (OD 5), 830-1700nm (OD 6), 840-1600nm (OD 7), 870-1140nm (OD 8), 9000-11000nm (OD 7) | 0.09 | curved | Polycarbonate |  | https://innovativeoptics.com/pi5-laser-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2021/04/Pi5-laser-glasses-2.jpg | graphs/Pi5_plot.png | 195
| GiT7 | Above average VLT | 430nm-500nm (OD 5), 500-515nm (OD 2), 515-532nm (OD 0.5), 655-1000nm (OD 5), 1000-1025nm (OD 6), 1025-1400nm (OD 7), 1400-2400nm (OD 5), 2770-10600nm (OD5) | 0.44 | flat | Glass | 440-470 DIR LB5, 650-665 DIR LB3, 735-1000 DIR LB5, 1000-1025 DIR LB6, 1025-1400 D LB6 + IR LB7, 1400-2400 D LB4 + I LB5 + R LB3Y, 2770-10600 DI LB4 + R LB3Y INVO CE UKCA | https://innovativeoptics.com/git7-laser-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2021/12/GiT7-circle-lenses.jpg | graphs/GiT7_plot.png | 295
| Pi15 | Low VLT, lightweight and broadly protective | IPL Shade 5 300-1400nm (OD 1.5), 9000-11000nm (OD 7) | 0.07 | curved | Polycarbonate |  | https://innovativeoptics.com/shade-5-ipl-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2019/11/8x2-IPL-Shade5.png | graphs/Pi15_plot.png | 59
| Pi1 | High VLT, lightweight and relatively inexpensive | 800-830nm (OD 5), 9000-11000nm (OD 7) | 0.7 | curved | Polycarbonate | 800-830 DIR LB5 INVO CE UKCA | https://innovativeoptics.com/pi1-laser-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2018/04/pi1.jpg | graphs/Pi1_plot.png | 175
| Pi19 | Grey, neutral density filters with above average VLT, made of lightweight materials to reduce fatigue | 520-532nm (OD 0.49), 9000-11000nm (OD 7) | 0.4 | curved | Polycarbonate |  | https://innovativeoptics.com/pi19-laser-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2022/02/Pi19-laser-glasses.jpeg | graphs/Pi19_plot.png | 250
| Pi17 | Green lenses with high VLT, made with lightweight materials to reduce fatigue | 200-455nm (OD 5), 650-665nm (OD 1), 725-800nm (OD 5), 800-955nm (OD 4), 955-1080nm (OD 6), 9000-11000nm (OD 7) | 0.34 | curved | Polycarbonate |  | https://innovativeoptics.com/pi17-laser-glasses-frames/ | https://innovativeoptics.com/wp-content/uploads/2021/12/Pi17-laser-glasses.jpg | graphs/Pi17_plot.png | 209
| Pi30 | Violet-blue lens, made with lightweight materials to reduce fatigue | 610-630nm(OD 5), 630-660nm (OD6), 660-705nm (OD 8) | 0.19 | curved | Polycarbonate |  | https://innovativeoptics.com/contact/ | https://innovativeoptics.com/wp-content/uploads/2018/10/Pi7-laser-glasses.jpg | graphs/Pi30_plot.png | 265
| PP19 | [8 empty] | graphs/PP19_plot.png

## Frame_details
Wavelength | Product | Summary | OD | Shape | Size | CE
| 701 | Fit over other glasses, integrated side shields, certified mechanically robust |  | curved |  | 190-315nm D LB6 + I LB3 + R LB4, 315-1100nm D LB6 + IR LB7 + M LB7Y, 1100-1400nm DIRM LB5, 1400-2400nm D LB4 + I LB5, 2400-11000 DI LB4 INVO CE UKCA
| 757 | Do not fit over other glasses, integrated side shields, certified mechanically robust |  | curved |  | 190-315nm D LB6 + I LB3 + R LB4, 315-1100nm D LB6 + IR LB7 + M LB7Y, 1100-1400nm DIRM LB5, 1400-11000 DI LB4 INVO CE UKCA
| PTCE-III | Can be sterilized by autoclave, broadband laser protection, certified mechanically robust | 315-1400nm (OD7), 1400-11000nm (OD4) |  |  | 315-1400 D LB6 + IR LB8 + M LB8Y, 1400-11000 D LB4 + I LB5 INVO S CE UKCA
| Laser Vee Shields | Disposable, broadband laser protection, hypoallergenic | 190-2000nm (OD7), 2000-10600nm (OD5) |  |  | 316-1400 D LB5 + IR LB7 + M LB7Y, 1401-11000 DI LB3 INVO CE UKCA
| C740 | Fit over other glasses, integrated side shields, certified mechanically robust |  | flat |  | 190-315nm D LB6 + I LB3 + R LB4, 315-1100nm D LB6 + IR LB7 + M LB7Y, 1100-1400nm DIRM LB5, 1400-11000 DI LB4 INVO CE UKCA
| 8X2 | Fit over other glasses, integrated side shields, adjustable